## Slide 1
Short update of the SIMMO project

## Slide 2
General idea of the project
Structured Illumination Microscopy
+
Digital Mirror Device
Low cost
Fast

## Slide 3
Previous work
D.-Mirror
Mirror
openISM
Tubelens
Z-Stage
Sample Layer
Illumination Layer
Imaging Layer
openSIM
Camera
Mirror
Mirror
Tubelens
e)
Objective
Sample
LED
H. Wang et al. Biorxiv 2021

## Slide 4
Laser
Beam-expander
DMD Controller+
Raspi
DMD
L1
L2
Mask
b)
c)
SIM
SRRF
5µm
SIM
SRRF
10µm
d)
e)
f)
Widefield
Previous work

## Slide 5
Current Setup

## Slide 6
DMD
[1] https://ibsen.com/technology/spectrometer-tutorial/dmd-spectrometers/
[1]

## Slide 7
Littrow configuration
Problem
Normal grating
Blazed grating
Blazed grating effect
[2] https://www.sohu.com/a/396565719_99961126
[2]
Specified incident angle

## Slide 8
Working principle of two DMDs
DLP2000EVM
DLP4710EVM

## Slide 9
DMD mechanism
DLP2000
DLP4710

## Slide 10
Transformation with 3D printing

## Slide 11
Current result
Brightfield
Reconstruction
Nikon 20x 0.75
BPAE cells, AF488
10 µm

## Slide 12
Current result
Brightfield
Reconstruction
Nikon 60x 1.4
10 µm

## Slide 13
Outlook
Blazed angle
Multicolor
Mechanical casing

## Slide 14
Thank you