## SIMMO
Ti2 for SIMMO
Ti2-A |  | Ti2-E |  | COMMENT
CODE NO. | DESCRIPTION | CODE NO. | DESCRIPTION
MEA54100 | ECLIPSE Ti2-A Main Body | MEA54000 | Ti2-E Inverted Microscope | Ti2-E Main Body requires to add Controller and Joystick
MQF52056 | 3-AC AC Adapter | MEF55037 | TI2-CTRE Controller for TI2-E
|  | MEF55705 | TI2-S-JS Stage Joystick
MBF41300 | Power Cord BE | MBF41300 | Power Cord BE
MEB55830 | TI2-T-BS S Eyepiece Tube Base Unit | MEB55830 | TI2-T-BS S Eyepiece Tube Base Unit
MEB52340 | TC-T-TS S Tube | MEB52340 | TC-T-TS S Tube
MAK10110 | Eyepiece CFI 10X with diopter adjustment (FN 22) | MAK10110 | Eyepiece CFI 10X with diopter adjustment (FN 22)
MAK10110 | Eyepiece CFI 10X with diopter adjustment (FN 22) | MAK10110 | Eyepiece CFI 10X with diopter adjustment (FN 22)
MEE59920 | TI2-D-PD Pillar for Dia Illumination | MEE59920 | TI2-D-PD Pillar for Dia Illumination
MEE55700 | TI2-D-LHLED LED Lamp House for Dia Illumination | MEE55700 | TI2-D-LHLED LED Lamp House for Dia Illumination
MEC51200 | TC-S-SR Stage | MEC56130 | TI2-S-SS-E Motorized Stage | If Ti2-E is selected, one can have motorized stage
MEC57100 | TI2-S-HL Long Handle
MEC55016 | C-S-HU Universal Holder | MEC55016 | C-S-HU Universal Holder
MEP53325 | TI2-N-ND-I Intelligent DIC Sextuple Nosepiece | MEP59394 | TI2-N-ND-P PFS Unit w/Mot.Nosepiece | If Ti2-E is selected, one can have PFS
MXA22161 | TI2-N-PT Nosepiece Protection Tray
MEL51010 | TI2-C-TC-I Intelligent Condenser Turret | MEL51010 | TI2-C-TC-I Intelligent Condenser Turret
MEL56200 | TI-C-LWD LWD Condenser Lens | MEL56200 | TI-C-LWD LWD Condenser Lens
MRD00205 | CFI Plan Apochromat Lambda 20X, N.A. 0.75, W.D. 1.0mm, spring-loaded | MRD00205 | CFI Plan Apochromat Lambda 20X, N.A. 0.75, W.D. 1.0mm, spring-loaded
MRD01605 | CFI Plan Apochromat Lambda 60X Oil, N.A. 1.40, W.D. 0.13mm | MRD01691 | CFI Apochromat TIRF 60XC Oil, N.A. 1.49, W.D. 0.13mm | 60x TIRF objetive might be of interest
MEE54850 | TI2-LA-BM Main Branch | MEE54850 | TI2-LA-BM Main Branch
MEE54880 | TI2-LA-BS Sub Branch | MEE54880 | TI2-LA-BS Sub Branch
MEE54720 | TI2-LA-FL EPI-FL Module | MEE54720 | TI2-LA-FL EPI-FL Module
MEV50030 | TI2-F-FSS Square Field Stop Slider | MEV50030 | TI2-F-FSS Square Field Stop Slider
MEV51020 | TI2-F-FLT-I Intelligent Epi Filter Turret | MEV51040 | TI2-F-FLTH-E Motorized HQ Epi Filter | For N-SIM cubes, recommended turret is HQ Epi Filter
MEV52116 | TI2-FL N-SIM 488/561 Dual Band Filter Cube | MEV52117 | TI2-FL N-SIM 405/488/561/640 Quad Band Filter Cube | Not recommended in combination with Intelligent Epi Filter Turret
MXA22147 | S-TI2-DCL Daisy Cable L | MXA22147 | S-TI2-DCL Daisy Cable L
| ESTIMATED PRICE AFTER 1 YEAR: 22K EUR |  | ESTIMATED PRICE AFTER 1 YEAR: 49K EUR